TABLE OF CONTENTS

##### HVAC DESIGN FROM CLEAN SHEET TO BLUEPRINT

Annotated

##### Introduction			1

##### Chapter 1 – Procedure Outline		3

Outlines the steps to a complete design and documents.  The steps will be discussed in detail in the following chapters.

Scope

Important Terms

Tasks of the HVAC Design

##### Chapter 2 – Project Information Needed for HVAC Design		7

Explains what information will be needed before the design process can begin.

Documents

Data Input

Review of Information

Codes, Standards, and References

Summary

##### Chapter 3 – Preliminary Design, Planning		13

##### Describes the decision process and collaboration with the architect and owner to set the design goals – indoor environmental conditions, type of cooling and heating equipment, location of systems, zoning, and heating options.

Decisions to be Made

Outdoor Ambient Design Conditions

First Cost and Energy Efficiency

Elements of Design

Zoning the Project

DX Air Source Systems

Water Source Systems

Split System or Packaged

Heating Options

Summary

##### Chapter 4 – Balancing Outdoor Air and Exhaust Air		19

Establishes the basic rules for providing outdoor air.  Explains the need to ensure that the building is under positive pressure, and managing the pressure gradients inside the building to ensure that odors and fumes are not recirculated into the occupied spaces

Scope

Basic Rules

Ventilation Based on Required Exhaust

Commercial Kitchens

Ventilation Based on Occupancy and Use

Variable Air Volume (VAV) Systems

Air Transfer Rules

Summary

continued . . .

TABLE OF CONTENTS - continued

##### HVAC DESIGN FROM CLEAN SHEET TO BLUEPRINT

##### Chapter 5 – Heat Loss and Heat Gain		27

A refresher explaining the mechanisms of heat loss and heat gain from and to a building.  Tips on how to account for certain heat sources and losses.

Scope

Heat Gain and Heat Loss Elements

Envelope Elements – Walls, Roof, and Floor

Envelope Elements – Fenestration

Internal Loads

Unscheduled Outdoor Air Intake

Outdoor Ventilation Air

Heating and Cooling Load Notes and Tips

##### Chapter 6 – Cooling and Heating Load Calculations		33

A description, with formulas, of the load calculation procedures most relevant to small projects

Scope

Basic Principles

Calculation Procedures

The CLTD/CLF Method

Radiant Time Series

Walls and Roofs

Fenestration

Internal Loads

Summary

##### Chapter 7 – Psychrometric Considerations		45

A comprehensive discussion of applying psychrometric analysis to the HVAC design process.  The various conditions that may be found for different projects are analyzed and illustrated. Detailed methods of computing psychrometric process points are provided.

Psychrometric Requirements

Psychrometric Chart

Process Lines

Dew Point

Sensible Heat Ratio

Load Variations

Plotting Points on the Psychrometric Chart

High Occupant Density

High Percentage of Outdoor Air

Heat Pipes

Rules

##### Chapter 8 – Energy Efficient Design		59

Explains the critical requirements of ASHRAE Standard 90.1and provides guidance for implementing and exceeding the Standard. Briefly outlines cost/savings analysis procedures.

Introduction

Equipment Performance

Meeting the Minimum Standard

Life Cycle Cost

Implementing or Exceeding the Standard

continued. . .

TABLE OF CONTENTS – continued

HVAC DESIGN FROM CLEAN SHEET TO BLUEPRINT

##### Chapter 8 – Energy Efficient Design - Continued

Minimum Efficiency

Air Source vs Water Source

Fan Power Limitation

System Controls

CO2 Control of Outdoor Air Ventilation

Economizer

Handling Large Latent Loads

Consultation with Other Disciplines

##### Chapter 9 – Equipment Selection		65

Selecting equipment with sensible and latent cooling capacity that closely matches each zone load is the most difficult and important step in the design process.  This chapter goes through a step-by-step iterative process to select the cooling equipment, supply air flow, and special features or equipment that may be needed to account for large latent loads caused by dense occupancy or large percentages of outdoor ventilation air.

Selection First Steps

The Iteration

Step 1 – Choose a Manufacturer, Model, and Size

Step 2 – Air Flow Iteration

Step 3 – Coil Inlet Conditions

Step 4 – Coil Capacity

Step 5 – Psychrometric Analysis

Reheat

Heat Pipe

Heat Pipe Selection

Outdoor Air Pre-Treatment

Pre-Treatment Outdoor Air Design Condition

Enthalpy Wheel – Energy Recovery Ventilator

DX 100% Outdoor Air Unit

##### Chapter 10 – Air Distribution		77

Sets forth the principles of zone air distribution, with emphasis on constant volume systems. An example is provided.

Principles of Air Distribution

Air Distribution Example

Building Sensible Load Elements

Distributing Air Flow to Each Space

Caveats

Implementing the Desired Air Flows

##### Chapter 11 – HVAC Controls and Indoor Air Quality		87

An explanation of basic HVAC controls, starting with a basic thermostat. It is assumed that the reader will go to other sources if more sophisticated controls are desired.

Basics of Indoor Air Quality Control

The Basic HVAC Control

Automatic Time of Day Control

Humidity Control

continued. . .

TABLE OF CONTENTS - continued

##### HVAC DESIGN FROM CLEAN SHEET TO BLUEPRINT

##### Chapter 11 – HVAC Controls and Indoor Air Quality - Continued

Reheat

Dedicated DX Outdoor Air Unit

##### Chapter 12 – Design Drawings, Specifications, Notes, and Schedules		95

A detailed guide to producing concise, comprehensive drawings and specifications for the project, using the design produced using the foregoing chapters.  In particular, what data must be included to ensure that the designers intent is met, and what data could and should be left to the HVAC contractor.

Document Plan

Objective

Medium

Base Sheet

Elements of the Final Documents

Creating the Documents

Base Sheet

Equipment Schedules

Equipment Layout

Diffusers and Grilles

Ductwork Layout and Sizing

Exhaust and Outdoor Air Intake

Elevations and Details

Quality Control and Operational Notes

##### Chapter 13 – Checking Your Work	 		109

A common-sense approach to avoiding errors and omissions, especially applicable to the individual engineer working alone.

The Designer’s Dilemma

Common Pitfalls

##### Symbols			113

##### References											115

Appendix A – Economizer Design and Control							 117

A description of the ASHRAE 90.1 economizer mandate. Describes a typical economizer configuration and sequence of operation. Includes description of control options, with psychrometric analysis applicable to constant volume systems.